## Form Review
Generic County Forms Review
Application for an Improvement Permit
Rule or Law
.1937(d) | Owners name | y
.1937(d) | Owners address | y
.1937(d) | Owners phone number | n
.1937(d) | Location of property | y
.1937(d) | Plat or site plan of property | n
.1937(d) | Description of existing and /or proposed facility or structure | y
G.S. 130A-335(f) | Time period permit is valid. | n
.1937(d) | Type of water supply | y
.1937(d) | Signature of owner or owner's legal representative | y
.1937(d) | Statement that applicant shall notify health department of:
| 1. Wetlands | n
| 2. Any wastewater generated other than domestic sewage | n
| 3. The site is subject to approval by other public agency | n
G.S. 130A-335(f) | Terms of revocation | y
Application for CA
.1937(e) | All of information for IP Application, plus:
.1937(e) | Locations of proposed facility, other proposed structures, and the site for the system showing setbacks to PL or other fixed reference points | n
.1937(e) | Proposed system as specified by owner or legal representative that meets the conditions of the IP | n
Site Evaluation Form
.1937(m) | Is a site evaluation form used to document field work? | y
.1937(m) | Signed/Dated? | y
Improvement Permit
G.S. 130A-336(a) | Plat or site plan | y
G.S. 130A-336(a) | Description of proposed facility | y
G.S. 130A-336(a) | Proposed wastewater system location | y
G.S. 130A-336(a) | Design wastewater flow and characteristics (# B.R.'S OR GPD) | y
G.S. 130A-336(a) | Conditions for any site modification | y
G.S. 130A-335(f) | Statement of revocation | y
.1937(f) | Issued by | y
.1937(f) | Date issued | y
G.S. 130A-336(a) | Permit conditions | y
G.S. 130A-335(f) | Time period permit is valid. | y
Construction Authorization
.1937(g) | Conditions regarding system type | y
.1937(g) | System layout | y
.1937(g) | Location and installation requirements | y
Operation Permit
.1937(i) | Type of system | y
.1937(i) | Conditions for system performance, operation, maintenance, monitoring and reporting. | y
Permit Denial Letter
G.S. 130A-335(g) | Is one written? | y
G.S. 130A-335(g) | Why denied? | y
.1937(m) | Modifications or alternatives given? | y
G.S. 130A-335(g) | Formal and Informal Appeal process outlined? | y
.1937(m) | Written report re: soil and site conditions included? | n

## Documentation Review Summary
Generic County Documentation & Field Review Summary
|  | Information Contained? |  |  |  | j | j | j | j | j | j | j | j | j | j | j | t | t | t | t | t | t | t | t | t | t | g | g | g | g | g | g | g | g | g | g | g
Rule or Law | Permit Application | N | Y | Q | % compliance | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52
.1937(d) | Is the Application complete | 0 | 32 | 0 | 100% | bar: 1 to 32
.1937(d) | Is there a Site plan/Plat with application | 0 | 32 | 0 | 100% | bar: 1 to 32
.1937(d) | Is the House, Drive, etc. shown | 16 | 16 | 0 | 50% | bar: 1 to 32
Site Evaluation Information
.1939 (a)(1) | Topography and Landscape Position Recorded? | 32 | 0 | 0 | 0% | bar: 1 to 32
.1940 (a-g) | Slope % Recorded? | 32 | 0 | 0 | 0% | bar: 1 to 32
.1939 (a)(2) | Texture Class Recorded? | 0 | 32 | 0 | 100% | bar: 1 to 32
.1939 (a)(2) | Structure type Recorded? | 2 | 30 | 0 | 93.75% | bar: 1 to 32
.1939 (a)(2) | Consistence Recorded? | 5 | 25 | 0 | 83.33% | bar: 1 to 22; 24 to 31
.1939 (a)(2) | Mineralogy Recorded? | 16 | 15 | 0 | 48.39% | bar: 1 to 21; 23 to 32
.1939 (a)(3) | Soil Wetness Condition Recorded When Encountered? | 0 | 32 | 0 | 100% | bar: 1 to 32
.1939 (a)(4) | Soil Depth to Rock or Parent Material Recorded When Encountered? | 0 | 32 | 0 | 100% | bar: 1 to 32
.1939 (a)(5) | Depth to Restrictive Horizons Recorded When Encountered? | 0 | 32 | 0 | 100% | bar: 1 to 32
.1939 (a)(6) | Sufficient Available Space Recorded? | 10 | 22 | 0 | 68.75% | bar: 1 to 32
.1937(m) | Are the Profile Locations Shown? | 19 | 2 | 0 | 9.524% | bar: 1 to 21
.1939(a) & .1945(b) | Are the S/PS Profiles in system & in repair area? | 5 | 9 | 18 | 28.12% | q | y | q | q | n | y | n | q | n | n | y | n | q | q | q | q | q | q | q | q | q | y | q | y | q | q | y | q | y | q | y | y
| Number of auger borings made: | 1 | 5 |  | 2.1562 | 1 | 2 | 3 | 3 | 1 | 2 | 1 | 2 | 1 | 1 | 5 | 1 | 2 | 2 | 3 | 3 | 2 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 5
|  | (LOW) | (HIGH) |  | (AVERAGE)
| Were sufficient auger borings made? | 7 | 10 | 15 | 31.25% | n | y | q | q | n | y | n | q | n | n | y | n | q | n | q | q | q | q | y | q | q | y | q | y | q | q | y | q | y | q | y | y
.1939(d), .1955, .1956, .1957 | LTAR | 0.3 | 0.8 |  | 0.56903 | 0.6 | 0.5 | 0.4 | 0.6 | 0.6 | 0.5 | 0.6 | 0.44 | 0.6 | 0.8 | 0.45 | 0.6 | 0.45 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.3 | 0.6 | 0.6 | 0.6 | 0.8 | 0.6 | 0.6 | 0.5 | 0.6 | 0.6 | 0.5 | 0.6 | 0.6 | na
|  | (LOW) | (HIGH) |  | (AVERAGE)
IP/CA
G.S. 130A-336(a) & .1937(g) | Proposed System Type stated-Initial | 1 | 30 | 0 | 96.77% | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | n | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | na
.1945(b) | Proposed System Type stated-Repair | 28 | 3 | 0 | 9.677% | n | n | y | y | n | n | n | n | n | y | n | n | n | n | n | n | n | n | n | n | n | n | n | n | n | n | n | n | n | n | n | na
G.S. 130A-336(a)(3) | System location identifiable by setbacks - Initial | 7 | 24 | 0 | 77.42% | n | y | y | y | n | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | n | y | n | n | n | y | y | n | na
.1937(g) & .1945(b) | System components shown - Initial | 0 | 31 | 0 | 100% | bar: 1 to 32
.1945(b) | Repair area shown | 0 | 31 | 0 | 100% | bar: 1 to 32
.1937 (f)(g) | Is the System design consistent with soil/site conditions? | 3 | 12 | 0 | 80% | y | y | y | y | y | y | y | y | y | y | y | y | y | y | n | n | y | y | y | y | y | y | y | y | y | y | y | n | y | y | y | na
.1937 (f)(g) | Is the System located in the approved area | 0 | 9 | 6 | 60% | q | y | y | y | y | q | y | q | q | q | y | y | q | q | y | y | q | y | y | q | q | y | y | y | q | q | y | q | y | y | y | na
G.S. 130A-336(a) | Is the Design flow (GPD) indicated? | 31 | 0 | 0 | 0% | bar: 1 to 32
G.S. 130A-336(a) | Number of Bedrooms, employees, seats, etc. indicated? | 1 | 30 | 0 | 96.77% | y | y | y | y | y | y | n | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | na
.1937(g) | Trench depth indicated? | 0 | 31 | 0 | 100% | bar: 1 to 32
.1937(g) | Trench width indicated? | 6 | 23 | 0 | 79.31% | y | y | y | y | y | y | y | y | y | y | y | y | n | na | n | n | n | n | y | na | n | y | y | y | y | y | y | y | y | y | y | na
.1937(g) | Trench length indicated? | 0 | 31 | 0 | 100% | bar: 1 to 32
G.S. 130A-336(a)(1) | Proposed/existing well shown? | 8 | 1 | 0 | 11.11% | 1: na; 2: na; 3: n; 4: n; 5: na; 6: na; 7: na; 8: n; 9: na; 10: na; 11: na; 12: na; 13: n; 14: na; 15: n; 16: y; 17: n; 18: n; 19: na; 20: na; 21: n; 32: na
G.S. 130A-336(a)(1) | Property line lengths shown? | 2 | 29 | 0 | 93.55% | y | y | y | y | y | y | y | y | y | y | y | n | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | n | na
G.S. 130A-336(a) | Facility/appurtenance setbacks shown from fixed points? | 4 | 26 | 0 | 86.67% | n | y | y | y | y | y | na | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | n | y | n | y | y | y | y | n | na
OP
.1937(i) | System type as described in table V(a) of rule .1961 | 0 | 9 | 0 | 100%
.1937(i) | Conditions for system performance, operation, maintenance, monitoring and reporting. | 0 | 9 | 0 | 100%

## Staff Review Tally sheet
Generic County Staff Review Tally
Name | Tommy | George | Jane
Position | EHS | EHS | EHS
Finals (3) | 3 | 3 | 3
Repairs (1, if available) | 0 | 0 | 0
Repair packages (10 total min) | 4 | 3 | 4
Field Visit IP/CA (5) | 6 | 6 | 6

## Sys Insp's Summary
GENERIC COUNTY
Review of Final Inspections for Issuance of Operation Permits | [5 empty] | t | t | t | j | j | j | g | g | g
|  | Information Contained? |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Rule or Law | Location & Separation Distances | N | Y | Q | % compliance
Rule .1950 | Confirmed setback to Wells | 0 | 0 | 0 | #DIV/0! | bar: 1 to 9
Rule .1950 | Confirmed setback to Property Lines | 0 | 9 | 0 | 100% | bar: 1 to 9
Rule .1950 | Confirmed setback to Foundation and Drain? | 0 | 9 | 0 | 100% | bar: 1 to 9
Rule .1950 | Confirmed other applicable .1950 Setback Requirements | 0 | 9 | 0 | 100% | bar: 1 to 9
Tanks
Rule .1954 | Visually inspect the exterior | 0 | 9 | 0 | 100% | bar: 1 to 9
Rule .1954 | Visually inspect the interior | 1 | 8 | 0 | 88.89% | bar: 1 to 9
Rule .1954 | Inspect outlet, baffle & filter | 0 | 9 | 0 | 100% | bar: 1 to 9
.1954 (a) (15) | Inspect inlet | 0 | 9 | 0 | 100% | bar: 1 to 9
.1954 (a) (15) | Verify Presence of Date of manufacture | 0 | 9 | 0 | 100% | bar: 1 to 9
.1954 (a) (15) | Verify Liquid capacity of tank | 0 | 9 | 0 | 100% | bar: 1 to 9
Pump Tank Inspections:
.1954 (b) (4) | Tank Water tested? | 0 | 1 | 0 | NA | bar: 1 to 9
.1952 (a) | Verified proper setting of Float controls | 0 | 1 | 0 | NA | bar: 1 to 9
.1952 (a) | Verified use of NEMA 4X Box | 0 | 1 | 0 | NA | bar: 1 to 9
.1952 (a) | Verified that the Alarm is audible & visible | 0 | 1 | 0 | NA | bar: 1 to 9
.1952 [c] (9) | Verified that the pump & alarm are on separate circuits | 0 | 1 | 0 | NA | bar: 1 to 9
Supply Line from tank to drainfield or distribution device
.1955(e) | Verified required fall? | 0 | 9 | 0 | 100% | bar: 1 to 9
.1955(e) | Verified proper Material? | 0 | 9 | 0 | 100% | bar: 1 to 9
.1955(a) | Verified distance from tank to drainfield or distribution device | 0 | 9 | 0 | 100% | bar: 1 to 9
Distribution Device to Drainfield
.1955(j) | Verified device will perform as designed | 0 | 9 | 0 | 100% | bar: 1 to 9
.1955(e) | Verified Required fall to nitrification field | 0 | 9 | 0 | 100% | bar: 1 to 9
.1955(j) | Verified device is water tight | 0 | 9 | 0 | 100% | bar: 1 to 9
.1955(j) | Checked for proper 2' minimum distance to trench | 0 | 9 | 0 | 100% | bar: 1 to 9
.1955(j) | Checked that device is on a solid foundation | 0 | 9 | 0 | 100% | bar: 1 to 9
Nitrification Field
.1955(g) and (m) | Verified Proper Trench depth | 0 | 9 | 0 | 100% | bar: 1 to 9
.1955(g) | Verified Proper Trench width | 0 | 9 | 0 | 100% | bar: 1 to 9
.1955[c] | Verified Proper Distance between trenches | 0 | 9 | 0 | 100% | bar: 1 to 9
.1955[c] | Length of trenches measured | 0 | 9 | 0 | 100% | bar: 1 to 9
.1955 (h) | Aggregate depth measured | 0 | 9 | 0 | 100% | bar: 1 to 9
. 1969 | Innovative systems installed per approval | 0 | 9 | 0 | 100% | bar: 1 to 9
.1955 (g) | Verified Proper Trench grades | 0 | 9 | 0 | 100% | bar: 1 to 9
Step Downs
.1955 (l) | Verified 2' undisturbed earth | 0 | 2 | 0 | NA | bar: 1 to 9
.1955 (l) | Verified Proper Rise over stepdowns | 0 | 2 | 0 | NA | bar: 1 to 9
.1955 (l) | Verified Solid pipe used over stepdowns | 0 | 2 | 0 | NA | bar: 1 to 9

## (Sample)Repair Worksheet
Repair/Troubleshooting Worksheet |  |  |  |  | Permit # or name | smith | jones | kowalski | jeter | bogdonavich | robinson | ashton | cross | young | fitzgerald
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Yes | No | Couldn't tell | % affirmative | EHS | aa | bb | cc | dd | ee | ee | dd | cc | aa | bb
Is there an Application? | 6 | 4 | 0 | 60% | bar: 1 aa to 10 bb
Was a homeowner interview form utilized? | 9 | 1 | 0 | 90% | bar: 1 aa to 10 bb
Was a soil & site evaluation documented? | 4 | 6 | 0 | 40% | bar: 1 aa to 10 bb
Original System Type Determined? | 8 | 2 | 0 | 80% | bar: 1 aa to 10 bb
Original System Age | 8 | 2 | 0 | 80% | bar: 1 aa to 10 bb
Was the Failure Located? | 6 | 4 | 0 | 60% | bar: 1 aa to 10 bb
Was the Frequency of the failure Determined? | 8 | 2 | 0 | 80% | bar: 1 aa to 10 bb
Was the Water usage checked? | 6 | 4 | 0 | 60% | bar: 1 aa to 10 bb
Were the System Components Evaluated? | 10 | 0 | 0 | 100% | bar: 1 aa to 10 bb
Was the cause determined? | 6 | 4 | 0 | 60% | bar: 1 aa to 10 bb
Was the failure resolved? | 6 | 4 | 0 | 60% | bar: 1 aa to 10 bb
Was a NOV issued? | 4 | 6 | 0 | 40% | bar: 1 aa to 10 bb
| (MIN) | (MAX) | (Average)
Days From Application to Construction Authorization | 4 | 66 | 12.8 |  |  | 12 | 5 | 4 | 12 | 5 | 4 | 6 | 66 | 7 | 7
Days From Construction Authorization to Operation Permit | 4 | 77 | 22.9 |  |  | 5 | 5 | 14 | 5 | 5 | 14 | 77 | 4 | 55 | 45
Total resolution Time | 10 | 83 | 35.7 |  |  | 17 | 10 | 18 | 17 | 10 | 18 | 83 | 70 | 62 | 52
Repair Trench Depth | 18 | 30 | 22.4 |  |  | 18 | 22 | 30 | 18 | 22 | 30 | 18 | 24 | 22 | 20
Age @ time of repair:
Initial System Type and Age at Time of Repair | Number | Min | Max | Average
Bed | 1 | 12 | 12 | 12 | 3 cc: 12
Chamber | 2 | 6 | 7 | 6.5 | 4 dd: 6; 5 ee: 7
EZ Flow | 1 | 9 | 9 | 9 | 6 ee: 9
Gravel Trench | 3 | 6 | 24 | 15 | 1 aa: 24; 2 bb: 15; 7 dd: 6
Large Diameter Pipe | 1 | 13 | 13 | 13 | 8 cc: 13
LPP | 1 | 23 | 23 | 23 | 9 aa: 23
PPBPS | 1 | 33 | 33 | 33 | 10 bb: 33
Other | 0 | 0 | 0 | #DIV/0!
Totals: | 10 | 12.75 | 15.125 | #DIV/0!
Repair System Type
Bed | 3 | bar: 1 aa to 3 cc
Chamber | 2 | bar: 4 dd to 5 ee
EZ Flow | 1 | bar: 6 ee
Gravel Trench | 1 | bar: 7 dd
Large Diameter Pipe | 1 | bar: 8 cc
LPP | 1 | bar: 9 aa
PPBPS | 1 | bar: 10 bb
Other | 0

## Random Sites fieldsheet
COUNTY
EHS ________________________________________ | Reviewer _____________
Site 1 _______________________________________ | Date _________________
Comments
Is the system design consistent with soil/site conditions? | ¨ Yes ¨ No
Is the system located in the approved area? | ¨ Yes ¨ No
Site 2 _______________________________________
Comments
Is the system design consistent with soil/site conditions? | ¨ Yes ¨ No
Is the system located in the approved area? | ¨ Yes ¨ No
Site 3 _______________________________________
Comments
Is the system design consistent with soil/site conditions? | ¨ Yes ¨ No
Is the system located in the approved area? | ¨ Yes ¨ No

## action plan
Generic County Action Plan Timeline |  | Date for
| Date for | Program Improvement Team
| completion: | Follow Up:
Policies & Procedures
1. All applications shall include appropriate plat or site plan. | 2003-12-15 | Summer 2004
2. Every application must be signed by the owner or the owner's legal representative. | 2003-12-15 | Summer 2004
Forms
1. Application for IP & CA
a. A suitable site plan must be submitted by the applicant as a part of every application for an improvement permit. | 2003-12-15 | Summer 2004
b. Statements that the applicant shall notify the health department of the presence of previously identified jurisdictional wetlands, of any wastewater generated other than domestic sewage, and whether the site is subject to approval by any other public | 2003-12-15 | Summer 2003
c. The time period the permit is valid must be stated on the application for an improvement permit. Include the requirements for a permit that is valid for 5 years as well as for a permit that is valid without expiration. | 2003-12-15 | Summer 2004
d. The owner's phone number must be stated on the application. | 2003-12-15 | Summer 2004
e. The application may only be signed by the current property owner or the owner's legal representataive. | 2003-12-15
f. The proposed system type as specified by the owner or the owner’s legal representative must be stated on the application for construction authorization. | 2003-12-15 | Summer 2004
3. Denial Letter
A written report regarding soil and site conditions responsible for the denial must be included with the denial letter. | immediately | Summer 2004
Permit Documentation & Field Work
1. Detailed descriptions of soil profiles to a depth of 48” or an unsuitable condition must be documented for every site evaluated, both new and repair. All soil profile locations must be shown. Documentation must support the system designed. | immediately | Summer 2004
2. Sufficient borings must be made in both the system and the repair area for each site to confirm that the initial system and repair system designs match the soil and site conditions throughout the designated areas. | immediately | Summer 2004
3. An application must be submitted for every site. Only one system shall be permitted on each permit. | immediately | Summer 2004
4. Setbacks from fixed reference points to the facility nd the proposed or existing well area must be shown on the permit sketch. | immediately | Summer 2004
Generic County Action Plan Timeline |  | Date for
continued | Date for | Program Improvement Team
| completion: | Follow Up:
5. Design flow, trench width, and the proposed repair system type must be stated on the permit. | immediately | Summer 2004
6. The on-site staff must work to achieve better consistency and accuracy in recognizing and setting LTAR’s | immediately | Summer 2004
7. A site and soil evaluation must be performed and documented for every failure analysis and issuance of a repair permit. | immediately | Summer 2004
8. The slope of the site must be checked and then taken into account when determining maximum trench bottom depth. | immediately | Summer 2004
9. An investigation using pits must be conducted on sites where the system trench bottom depth will not maintain the required 12’ separation from saprolite. These pits must be deep enough to evaluate a minimum of 24” below the proposed trench bottom. | immediately | Summer 2004
10. When reissuing permits, old soil data should be confirmed and the re-evaluation documented. | immediately | Summer 2004

## OSWS
OSWS MANPOWER ASSESSMENT
for
Generic | County
On-Site Wastewater Activities - 2000-2001
Activity | #/year | #/day | Estimated Man -Days Required
Site Evaluations | 752 | 9 | 83.5556
Consultative Visits | 826 | 12 | 68.8333
Operation Permits | 587 | 12 | 48.9167
Existing System Inspections | 352 | 15 | 23.4667
Complaints Investigated | 32 | 12 | 2.6667
Maintenance Inspections | 21 | 11 | 1.9091
Total Field Days OSWS |  |  | 229.348
Water Supply Protection
Activity | #/year | #/day | Estimated Man-Days Required
Well Site Visits | 178 | 17 | 10.4706
Well permits | 189 | 26 | 7.2692
Well Grouting inspections | 189 | 9.5 | 19.8947
Water Samples Taken | 84 | 24 | 3.5
Water Supplies Inspected | 32 | 20 | 1.6
Well Consultative visits | 46 | 14 | 3.2857
Total Field Days Water Supply Protection |  |  | 46.0203
Total Field Activities |  |  | 275.3682
Office and Travel Activities
Type of Activity |  | Expected % of time | Estimated Man -Days Required
Office (includes client contact time, report preparation, etc.) 239 workdays X 3 employees X .34) |  | 34% | 243.78
Travel Time (239 workdays X 3 employees X .19) |  | 19% | 136.23
Total Office and Travel Activities |  |  | 380.01
SUMMARY OSWS
Estimated Man-Days for On-Site Wastewater State Law Enforcement |  |  | 229.348
Estimated Man-Days for Water Supply Activities |  |  | 46.0203
Estimated Man-Days for Administrative Activities |  |  | 380.01
Total Estimated Man-Days |  |  | 655.3782
Minimum Number of Environmental Health Specialists required |  |  | 2.7422
(Man-Days divided by 239)
Current Number of Environmental Health Specialist positions (non-supervisory) |  |  | 3
Additional Environmental Health Specialist positions needed (non-supervisory) |  |  | -0.25783